## Slide 1: Lightwave in forensic science
25th September 2019

## Slide 2: Outline
Introduction
Review of principles of light wave
Electromagnetic spectrum : ultraviolet, visible and infrared
Interaction of light and matter : reflection, luminescence and scattering
Forensic light sources : Alternative light source
Light wave applications :

## Slide 3: Introduction
In forensic examination of evidence, scientists make use of all types of light sources.
Different wavelengths of the optical spectrum offer a very useful tool to the non-destructive detection of latent evidence.
The optical spectrum used in forensic examinations
include ultraviolet, visible and infrared.

## Slide 4: Electromagnetic Spectrum
Notes: ใน slide จะอธิบายเกี่ยวกับ spectrum ของ คลื่นแม่เหล็กไฟฟ้า โดยเฉพาะในช่วง UV, visible และ infrared โดยเน้นว่าในการนิยามว่าแต่ละช่วงสามารถทำการกำหนดได้ด้วยความยาวคลื่นหรือความถี่ และส่วนที่นำมาใช้งานเป็นช่วงไหนบ้าง

## Slide 5: UltraViolet Light
Short wavelength or far UV (UV C) :100 to 280 nm for sterilization,
Medium wavelength (UV B) : 280 to 315 nm for cosmetic purposes,
Long wavelength or near UV (UV A): 315 to 400 nm for forensic identifications of latent evidence.
Examples of latent evidence includes
- fingerprints,
- body fluids, i.e. blood, saliva, semen etc. on
clothes,
- bite marks and faded bruises,
- writing on documents.
Notes: Latent evidence cannot be seen under normal
ambient lighting.
- Some types of enhancement may be needed to
clarify details.

## Slide 6: UV Sources and UV detection
UV Sources :
Gas-discharged tubes : polychromatic light sources,
examples include black light tubes,
mercury and xenon lamps.
Solid-state sources : highly monochromatic light sources
examples includes UV light emitting
and UV lasers.
UV detection : a direct detection by a specially made detector or an indirect detection via optical phenomena, i.e., fluorescence and phosphorescence.
Notes: Traditional light sources for UV work are all based on gas-discharge tubes. These tubes sometimes look like purple or pale-blue fluorescent light tubes. Tubes with mercury vapor generate UV light in the 365-nm band, and different gas pressures in the tubes can change the wavelength of UV light emission.
Gas-discharge tubes suffer from several disadvantages. The output is relatively weak compared to solid-state sources, and the illumination angle is quite wide, making it difficult to achieve high-intensity illumination. The output spectrum is quite wide, since there are many emission lines in a gas discharge. If monochromatic UV is required, then the output of the tube must be filtered. They are also fragile, require hazardous drive voltages, and have limited lifetimes, particularly in the case of xenon short-arc lamps.
In recent years, high-brightness UV LEDs have become commercially available and are starting to displace gas-discharge tubes in a variety of applications. These devices are based on gallium nitride semiconductors and can be found in wavelengths down to 365 nm, although today the most common UV LED wavelengths are 370 and 395 nm. The light from these sources is highly monochromatic due to the nature of semiconductor light sources that have an energy band gap.

## Slide 7: Black light
A tube black light is a basically a fluorescent lamp containing mercury vapor with a different sort of phosphor coating. This coating absorbs harmful shortwave UV-B and UV-C light and emits UV-A light.
The "black" glass tube itself blocks most visible light, so in the end only benign long-wave UV-A light, along with some blue and violet visible light, passes through.
http://www.naturalux.com/NaturaLux_Lighting_Filters_UVinfo.htm
http://science.howstuffworks.com/innovation/everyday-innovations/black-light1.htm

## Slide 8: Visible Light
Visible light spectrum extends from 400 to 700 nm.
Visible light can be detected by human eyes.
The human perceptions respond to different wavelengths in terms of different color perception ranging from violet (short wavelength) to red (long wavelength).

## Slide 9: InfraRed Light
The IR portion comprises wavelength between 750 nm to 1 mm.
The IR portion can be further subdivided into several zones such as near infrared (750 -1400 nm, mid infrared (3 m to 6 m) and far infrared (15 m to 1000 m)
Human perception is insensitive to IR.
Particular detecting device is needed for the IR detection.

## Slide 10
https://pubs.rsc.org/en/content/articlelanding/2019/pp/c8pp90060d#!divAbstract
Notes: *Macular degeneration is a medical condition which usually affects older adults and results in a loss of vision in the centre of the visual field (the macula) because of damage to the retina.
** A cataract is a clouding of the lens inside the eye which leads to a decrease in vision.
*** Increased use of electronic devices like tablets, smart phones and pc laptops which give of a sharp ‘blue light’ has raised concern for retinal health.
ถัดไปทางขมับของจานประสาทตามีส่วนที่เรียกว่า จุดเห็นชัด (macula) ซึ่งตรงกลางมีจุดที่เรียกว่ารอยบุ๋มจอตา (fovea) เป็นหลุมที่ทำให้เราสามารถมองเห็นได้ชัดที่สุดตรงกลางลานสายตา แต่มีระดับความไวแสงน้อยกว่าส่วนอื่นเนื่องจากไม่มีเซลล์รูปแท่ง สัตว์อันดับวานรรวมทั้งมนุษย์มีรอยบุ๋มเดียวในตาแต่ละข้าง เทียบกับนกบางชนิดเช่นเหยี่ยวซึ่งมีรอยบุ๋ม 2 แอ่งในตาแต่ละข้าง (bifoviate) และสุนัขและแมวซึ่งไม่มีรอยบุ๋มจอตา แต่มีแถบกลางตาที่เรียกว่า visual streak

## Slide 11
The spectral sensitivity of the human eye in bright light mode in comparison with that of CCD and CMOS sensors in the visible and near infrared spectrum. (Each curve is normalized on its maximum.)
http://www.fen-net.de/walter.preiss/e/slomoinf.html

## Slide 12
The reflection of light from a surface can provide a simple method to detect latent evidence.
The reflection of a surface depends on its reflectivity.
The wavelength of the reflected light is not shifted during the process.
The amplitude of the reflected light is less than the amplitude of the incident light.
Interaction of light and matter
“Reflection”
Notes: จุ่มหลอดทดลองในน้ำมัน

## Slide 13: Reflection from surfaces
http://micro.magnet.fsu.edu/primer/java/reflection/specular/index.html

## Slide 14: RUVIS (Reflected Ultra-Violet Imaging System)
The instrument uses intensified UV reflectance from the smooth, non-porous surfaces where the evidence is found.
RUVIS devices use 254nm (UVC) UV light but they are not detecting fluorescence. Instead the device looks for the reflections and scatter of the 254nm light off of the fingerprint ridges comparing to the background.
Notes: As the surface is exposed to the UV light, the materials left behind, for example oily residues or amino-acids in the case of a fingerprint, will scatter the UV light or absorb it. The viewer sees the scatter off the ridges and allows the technician to see the latent print on the surface. By changing the angle of the light, the contrast of the print changes and its visibility can be increased, the allowing the visualization and photography of the latent print without any treatment or contact

## Slide 15
A strong contrast between the finger print ridges and background can be observed.
Two possible sources of the strong contrast include stronger background reflection (i.e. fingerprint residues also absorb UV) and more scattering due to the roughness of the fingerprint residues.
https://www.gov.uk/.../uploads/.../fsb-chap4-imaging.pdf
Notes: Note super glue help to enhance the scattering of the uv light by introducing needle like molecule to the fingerprint residues
The scattering is pronounced when the size of scatterers are comparable to the wavelength of the incident light.

## Slide 16: UV reflection on porous surface
The contrast is due to different amounts of light from the fingerprint residues (UV absorption) and background (fluorescence by UV) .
https://www.gov.uk/.../uploads/.../fsb-chap4-imaging.pdf

## Slide 17: Interaction of light and matter “Photoluminescence”
The interaction between the illuminating light and certain material results in a visible effect known as photoluminescence.
The emission of light involves the transition of atoms or molecules of a material from an excited state to ground state. The excess energy is released in the form of light. The radiation can cover UV, visible and IR ranges.

## Slide 18: Energy states in a molecule
Energy states of a molecule are composed of electronic, vibration and rotation.
The electrons in atoms and molecules can move between different energy states by either absorbing energy (moving to a higher energy state) or emitting energy (moving to the lower energy state).

## Slide 19: A more complicated of molecular energy diagram
Schematic representation of electronic, vibrational, and rotational energy levels.
The transitions between electronic states can produce radiation in UV and visible range.
The transitions between vibrational stats can produce radiation in the infrared range.
Notes: The transitions between electronic states can produce radiation in UV and visible range.
The transitions between vibrational stats can produce radiation in the infrared range.

## Slide 20: Fluorescence
Fluorescent emission in atoms : energy of emitted photon is exactly the same as the energy of absorbed photon. This process is called resonant fluorescent emission.
Fluorescent emission in molecules : energy of emitted photon is less than the energy of absorbed photon due to non-radiant loss . This process is call redshifted fluorescent emission; i.e. the re-radiation having a longer wavelength.
Notes: When atoms are excited to higher electronic energy states, they return to the ground state by emission of a photon exactly the same energy as that used to excite them. This type of fluorescence is called resonant fluorescent emission.
For the fluorescent emission in molecules or redshifted fluorescent emission, the photon that is emitted from the system has a wavelength that is longer than the wavelength of excitation (lower in energy).

## Slide 21: Fluorescence diagrams (simplified version)
Energy levels in atoms
Energy levels in molecules
Re-radiation with longer wavelengths
i = vibrational level i
Notes: Up arrow I indicates excitation light. Down arrow represents emission of light from atoms that occurs when an electron moves from state S1 to So and is called direct or resonant fluorescence ii.
Up arrow indicate excitation with photons of increasingly short wavelengths (higher energy). Emission of light in molecules can occur as simple resonant fluorescence ii or alternatively some of the excited energy can be lost through internal conversion iii between vibronic level v1, v2, v3 , v4 in S1 and then emitted as fluorescent light which is red-shifted iv

## Slide 22: Set-up for detecting fluorescence
http://www.olympusmicro.com/primer/lightandcolor/fluorointroduction.html

## Slide 23: Stokes shift
The difference (in wavelength or frequency units) between positions of the band maxima of the absorption and the emission spectra.
Notes: The existence of a Stokes shift means that emitted light can be detected against a low background. Independently of the excitation wavelength.

## Slide 24: Fluorescence of common objects
http://www.bot.or.th
Note : The fluorescence stops once the excitation light is removed.
Notes: หมึกพิมพ์พิเศษเรืองแสง การเรืองแสงของลวดลายสีพื้น หมวดอักษรและเลขหมาย

## Slide 25: Fluorescence of tonic water
https://www.kutztown.edu/
Tonic water, in normal light and ultraviolet "black light". The quinine content of tonic water causes it to fluoresce under black light.
https://en.wikipedia.org/wiki/Quinine
Notes: Regardless of which
excitation wavelength is used, the wavelength of maximum
fluorescence is 450 nm. With a scanning fluorimeter, we
have used a 350 nm excitation wavelength and 450 nm
emission wavelength throughout.

## Slide 26
Notes: Screening of urine
for auinine is a fairly common method for effective surveil-
~ancko f heroin abuse within a narcotic control, treatment,
or aftercare program, since quinine is a common diluent of
illegal heroin samples.
Quinine is a bitter tasting powder extracted from the bark of the cinchona tree of South America. Quinine, used in medicine, became popular as an antimalaria drug, and in the 1940’s drug pushers, concerned about their decreasing clientele from the epidemic of malaria sweeping the streets, added quinine to heroin. As a result of this new practice, the malaria outbreak in New York was reasonably controlled. The use of quinine in illicit preparations continues today, because quinine’s bitter taste prevents heroin buyers from being able to judge the quality of heroin sold as well as adds to the “rush” of the heroin injection.

## Slide 27: Latent evidences : body fluid and document
Detecting the presence of semen on cloth by using near-ultraviolet light.
A Portugese visa viewed under ultraviolet light . The security feature is often printed on security documents to deter counterfeiting.

## Slide 28: Forensic Light source (Alternative Light Source)
The ALS is a portable, high-intensity, filtered light source.
The ALS is used by forensic scientists and others to detect fingerprints, body fluids and other evidence from crime scenes.

## Slide 29: How the ALS works?
The key to the use of alternative light sources is fluorescence, the absorption of light at one wavelength and the emission of light at a longer wavelength.
The emitted light can be detected by the use of the screening filters.
http://www.policensw.com/
ALS also provides a strong white light for an optical detection by means of the light reflection.
Notes: Most organic materials can be made to fluoresce. As an example, a fingerprint can be invisible to the naked eye. But, when illuminated using an intense blue-green light from a laser or incandescent source, the organic materials in the fingerprint will fluoresce yellow. The fluorescence is visible without the addition or powders or dyes.
The same principle applies to other organic samples including semen, saliva, fibers from materials, and ink. Furthermore, different organic materials will absorb light and fluoresce at different wavelengths. This means that evidence such as a fingerprint or a bite mark can be detected on materials as diverse as skin, paper, rubber, and cloth fabric.
Light source can be halogen lamp.

## Slide 30
Exciting radiation
Screening filters
Notes: Polilight filters and applications
One use for alternate light sources is the examination of a weapon such as a gun or knife. Finger and palm prints are nearly invisible on such metal surfaces when examined under room light. But, when viewed under a green light and observed through an orange filter, the prints can easily be seen. Similar lighting conditions and special film can be used to photograph prints.

## Slide 31: Alternative Light Source Spectrum Xenon Spectrum
The xenon arc-discharged lamp provides a wide range of excitation wavelengths and intense broadband illumination without prominent spectral lines in either the ultraviolet or the visible wavelength regions .
http://www.olympusfluoview.com/theory/noncoherentsources.html

## Slide 32: Filter Wavelengths for Excitation Radiation
The output from Xenon light source can be selectively filtered for a specific wavelength by a filter.

## Slide 33: Wavelength Goggles
Goggles block excitation radiation and allow the fluorescent wavelength to be observed.

## Slide 34: How to enhance the bloody fingerprints with the ALS?
Hint : Maximum absorption of blood is around 415 nm and blood does not display any photoluminescence property.
Notes: The surface is illuminated with 415 nm light. All parts except the bloody area reflect the incident light. Therefore, the bloody fingerprint appears darker than the background does.

## Slide 35: Absorption spectrum of human blood
Although blood has a high absorption in a very broad region (300 – 900 nm) it has a strong and narrow absorption band with a maximum centered around 415 nm.
http://www.wavesignal.com/Forensics/Blood.html
Notes: In the absorption spectrum depicted above, note that the absorption is the weakest above 600 nm. This results in the reflection of visible light and the appearance of red wavelengths of the visible spectrum.

## Slide 36: Composite image of a bloody finger print on a copy paper.
The left side was photographed at 415 nm.
The right side was photographed under daylight lighting.
https://www.ncjrs.gov/pdffiles1/nij/grants/230163.pdf

## Slide 37: Response of dried seminal fluid to UV
http://www.bvda.com/images/content/downloads/Locating_Semen_on_Live_Skin_Using_Visible_Fluorescence.pdf

## Slide 38: Detection of dried semen using ALS
http://www.bvda.com/images/content/downloads/Locating_Semen_on_Live_Skin_Using_Visible_Fluorescence.pdf

## Slide 39: Use of an Alternate Light Source to Detect Tooth and Bone
http://www.scielo.br/scielo.php?script=sci_arttext&pid=S0103-64402017000100078
Braz. Dent. J. vol.28 no.1 Ribeirão Preto Jan./Feb. 2017
http://dx.doi.org/10.1590/0103-6440201700892
Natural light exposure
Photographs of biological (tooth and bone samples) and inert (styrofoam balls) materials under different combinations of illumination wavelength (nm) and filter

## Slide 40: Conclusions
Radiation range that can be used in the forensic applications cover UV, Visible and Infrared.
Lightwave offers a simple but effective means for investigating latent trace evidence.
The process is non-destructive allowing further testing to be performed if required.

## Slide 41: References
W C Lee and B E Khoo, “Forensic Light Source for Detection of Biological Evidences in Crime Scene Investigation : A Review”, Malaysian Journal of Forensic Science, 2010, Vol 1, p 17-27.
P B Ohara, Carol Engelson and W S Peter, “Turning on the Light: Lesson form Luminescence”, Journal of Chemical Education, Vol. 82, No. 1, 2005, p 49-52.